**Built-in basin EE 5x5-4.2**

**Dimensions:**

Exterior dimensions:

Length: 500 mm

Width: 500 mm

Basin size:

Length: 400 mm

Width: 400 mm

Depth: 200 mm

Cut-out dimensions:

Length: 480 mm

Width: 480 mm

**Design:**

Basin and top surface deep-drawn. With securing elements and suitable all-around seal; for building into Resopal or AISI 304 table tops.

Basin surface fully brushed; basin features overflow indentation.

Drain: 1 ½".

**Accessories:**

* 1 ½" drain and overflow   
  valve Order No.: 223 063

**Technical data:**

Material: Stainless steel

Material no.: 1.4301

**Make:**

Manufacturer: B.PRO

Model: EE 5x5-4.2

Order No.: 504 031