# Shelf Trolley RWR-VP 163

**Dimensions**

Length: 671 mm

Width: 832 mm

Height: 1675 mm

Interior dimensions:

Space between support rails: 115 mm

**Design**

The shelf trolley consists of CNS 18/10 (AISI 304), Material No. 1.4301. U-profile guide rails are welded between the stable 25 x 25 mm square tubes (curved without a recess). These are supplied with a tip safety as well as push-through protection on both sides. The push-through protections are achieved with foldovers to avoid abrasion while inserting or removal of the trays.

The shelf trolley has a crosswise insertion for EN trays, enabling 2 trays to be inserted one after another.

A 20 x 10 mm square tube welded in elevated at mid-height on both the front and back of the shelf trolley provides additional stability.

The shelf trolley can be moved on galvanized steel castors (4 steering castors, 2 of which have locking brakes, castor diameter 125 mm). Very robust synthetic corner guards (polyamide) at all four trolley corners protect the trolley from being damaged.

**Accessories and options**

* Dust protection hood made of transparent polyethylene (Order No. 573 018)
* Insulating hood made of polyethylene, aluminized on both sides (Order No. 573 017)
* CNS paneling, 2 or 3-sided
* Transport circlip on both sides

**Technical data**

Material: Chrome-nickel-steel 18/10 (AISI 304),

Polyamide (PA)

Material thickness of the

square tube: 1.5 mm

Material thickness of the

support rails: 1.2 mm

Weight: 18 kg

Load-bearing capacity

per trolley: 240 kg

Number of support

pairs: 12

Capacity: 24 EN/ GN trays

### Special features

* U-profile guide rails with tip safety and push-through protection on both sides

**Make**

Manufacturer: B.PRO

Model: RWR-VP 163

Order No.: 572 945