Hand-washing basin WBS 4x3.2x1.5 w/o overflow protection

Dimensions:

Length:	400 mm

Width:  	320 mm

Height:	150/180 mm

Basin size:

Length:	340 mm

Width:  	240 mm

Depth:		150 mm

Design:

The top surface turned down on three sides and turned up at the rear. 1 deep-drawn washbasin seamlessly welded into surface. 1 1/2” drain indentation, basin without overflow indentation.

With 1/2" contactless fitting (model: GIATRONIC). The temperature can be individually adjusted from cold to warm using the lever positioned at the back. As soon as the hands are held under the fitting, the water flows automatically at the pre-selected temperature. When the hands are removed, the water flow stops. The transformer is installed in the lower section with a 230 V 50 HZ mains connection and corresponding connection cable. 2 stainless-steel brackets welded on. With stainless-steel basin panelling on three sides, 150 mm high.

Technical data:

Material:		Stainless steel

Material no.:		1.4301

Make:

Manufacturer:  		B.PRO

Model:			WBS 4 x 3.2 x 1.5 w/o overflow protection

Order No.:			575 051