Hand-washing basin HW-K 5.5x4.5x1.5

Dimensions:

Length:	550 mm

Width:  	450 mm

Height: 	330 mm

Basin size:

Length:	500 mm

Width:  	300 mm

Depth:		150 mm

Design:

Seamlessly deep-drawn top surface and basin, basin size 500 x 300 x 150 mm with 1 1/2” drain, height of edge 30 mm on all sides, 1/2” water inlet fitting (upright tap), compact, wall-mounted design, basin panelling 300 mm high on three sides, perfect installation inside, thermostat permanently set to +38°C, pre-selectable water flow time adjustable between 5 and 60 seconds (self-closing). Set to about 10 seconds in factory. Mechanical knee operation by pressing on the front panel knee valve.

Technical data:

Material: 		Stainless steel

Material no.:		1.4301

Make:

Manufacturer:	B.PRO

Model: 		HW-K 5.5x4.5x1.5

Order No.: 		575 146